1. Which type of sewer is specifically designed to handle a discharge 25 times greater than the sanitary discharge?

a) Separate sewer

b) Outfall sewer

c) Combined sewer

d) Lateral sewer

Answer: C

Explanation: Combined sewers handle both sanitary sewage and storm drainage, which is much larger.

2. Manholes are provided in a sewerage system when there is a change in:

a) Pipe material only

b) Alignment, gradient, or diameter

c) Ambient temperature

d) Chemical composition of sewage

Ans: B

Explanation: Manholes are required at any change in alignment, gradient, diameter, or where sewers intersect for maintenance.